KNX Suntracer basic weather station invitation to tender

Weather station for the KNX bus system. Recording of brightness, wind speed, precipitation (heated sensor), temperature. 8 AND and 8 OR logic gates. 109 communication objects. 
Including combi-mount for wall/mast mounting.
Dimensions 96 x 77 x 118 (W x H x D in mm)

Manufactured by: Elsner Elektronik (www.elsner-elektronik.de)
Type: 3095 Suntracer KNX basic 230 V AC, 3096 Suntracer KNX basic12-40 V DC